{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet3","index":0,"n_rows":22,"n_cols":9,"rows_kept":22,"merged":[[0,0,0,8]],"flags":["formulas_cached_only"]}
["龙华应急管理局2019年第五批双随机执法情况公示表"]
["序号","企业名称","企业地址","执法部门","执法人员","检查日期","检查情况（发现隐患问题）","整改情况","是否立案"]
[1,"深圳市阿的佳科技有限公司","深圳市龙华民治街道中华路24号广明工业园B栋2楼","龙华区应急管理局","张机敏,张文龙","2019-04-16","1.车间通道堆放货物，堵塞通道；2.车间防火门闭门器损坏；3.防爆柜内危险物品（酒精）未粘贴安全技术标签及安全技术说明书","整改中","否"]
[2,"深圳市奥派科安防技术有限公司","深圳市龙华新区龙华街道清湖社区雪岗北路308号凤天创新科科技产业园901-904房","龙华区应急管理局","黄智勇,曾繁华","2019-04-16","1、生产经营单位未将安全培训工作纳入本单位工作计划并保障安全资金的投入。2、生产经营单位未建立事故隐患排查治理制度。","整改中","否"]
[3,"深圳市鹏士威科技有限公司","科伦特低碳产业园C栋5层西侧","龙华区应急管理局","石元知,李进添","2019-04-16","1、车间、仓库混合使用，存在“二合一”现象；2、仓库未作有效的防火分区；3、危险品防爆柜无危险品安全技术说明书；4、仓库货物堆放违反“五距”要求；5、大排气扇无漏电保护开关。","整改中","否"]
[4,"深圳市鑫恒科电子有限公司","福民狮径鹏发2期4栋5楼一半","龙华区应急管理局","罗中宝,庄志江","2019-04-16","1.部分大功率风扇未进行接地保护，电源线存在接驳现象；2.波峰焊未张贴风险告知卡，维修保养记录未更新；3.工作台照明灯一处电线裸露。","整改中","否"]
[5,"深圳市赛尔照明有限公司","章阁老村东区诚基工业园1栋5楼","龙华区应急管理局","谢俊辉,冼耀行","2019-04-16","1.五楼生产车间焊锡岗位员工未佩戴劳保用品（口罩）；2.五楼生产车间危险化学品分装容器未张贴安全标签；3.五楼原料仓库未用黄线划分通道线。","整改中","否"]
[6,"深圳市鸿博威包装材料有限公司","深圳市龙华区大浪街道浪口社区浪口工业区中源工业园厂房C 栋2 楼203 室","龙华区应急管理局","高扬凯,吴帅","2019-04-17","已搬迁","","否"]
[7,"深圳市鼎瑞精密模具有限公司","深圳市龙华区大浪街道老围第二工作区B栋一楼","龙华区应急管理局","傅霏,黄强","2019-04-17","已搬迁","","否"]
[8,"深圳市华南光电科技有限公司","深圳市龙华新区观澜街道老村社区沙博工业区11号B栋4楼","龙华区应急管理局","何嘉敏,黄桂明","2019-04-17","该企业已搬迁。",null,"否"]
[9,"盈滔手袋制品(深圳)有限公司","深圳市宝安区观澜街道金龙湖社区新丰工业区第三栋","龙华区应急管理局","黄桂明,何嘉敏","2019-04-17","1.货物堵塞消防通道;2.一楼仓库货物堆放过高；3.临时放货区域使用普通日光灯未做防爆处理；4.钻床未固定。","整改中","否"]
[10,"深圳市九一文化投资发展有限公司深圳分公司","民乐工业区B栋208","龙华区应急管理局","余俊贤,张华城","2019-04-17","已配备应急照明灯及灭火器材","无需整改","否"]
[11,"深圳市飞界网络科技有限公司","民治街道民乐工业区B栋505","龙华区应急管理局","林正权,魏文浩","2019-04-17","1、企业已制定安全教育培训计划。2、企业已按要求对员工进行安全教育培训","无需整改","否"]
[12,"深圳市全运通通讯器材有限公司","下横朗第二工业区2号A栋厂房二、三、四层","龙华区应急管理局","杨放辉,庞海锋","2019-04-17","1、一楼生产车间机械设备未安装独立漏电保护开关；2、车间配电柜加装安全防护栏，部分配电柜防护栏设置不规范；3、生产车间工作拉线、操作台未接地线及漏电保护开关。4、喷油车间未做安全操作管理制度和员工定期安全培训。","整改中","否"]
[13,"深圳市嘉和邦定科技有限公司","深圳市龙华区大浪街道同胜综合开发区A-1栋4楼402","龙华区应急管理局","钟汉林,邓国鸿","2019-04-17","1、车间部分机械设备未末端未安装独立漏电保护开关；2、生产车间未粘贴机械伤害警示标识。","整改中","否"]
[14,"深圳市天华图文设计工作室","深圳市龙华区大浪街道联恒商业街C栋2楼","龙华区应急管理局","邓国鸿,幸小东","2019-04-17","1、生产车间防火门反装；2、车间部分机械设备未末端未安装独立漏电保护开关；3、生产车间未粘贴机械伤害警示标识。","整改中","否"]
[15,"深圳市博骏模型有限公司","深圳市宝安区大浪街道同胜社区谭罗二村39号2楼北分隔体（办公场所）","龙华区应急管理局","曾令才,罗雨锋","2019-04-17","1.经现场核查，该企业已搬迁。","","否"]
[16,"深圳市百顺隆包装制品有限公司","深圳市龙华新区大浪街道高峰社区下早新村108号南雄工业区厂房3楼309","龙华区应急管理局","彭宇新,黄祖德","2019-04-17","1、车间与办公场所未设置防火门；2、仓库少部分电线未使用不燃套管保护；3、车间机械设备未张贴风险辨识告知卡；4、车间设备乱摆放，堵塞安全疏散通道；5、仓库部分通道未画标识线。","整改中","否"]
[17,"深圳市瑞彩丰包装有限公司","深圳市龙华新区大浪街道浪口社区水围新村德爱工业区新A栋第四层402","龙华区应急管理局","罗雨锋,杨放辉","2019-04-17","1、车间开关缺地线；2、车间日光灯使用花线；3、车间设备未粘贴风险辨识卡；4、防爆柜（油墨）未粘贴专人管理信息。","整改中","否"]
[18,"深圳市诚鑫精密制造有限公司","深圳市龙华区大浪街道乌石岗工业区A栋一楼102厂房","龙华区应急管理局","许伟彬,罗雨锋","2019-04-17","1、铣床工未佩戴劳保用品(防护眼镜)；2、使用的梯子不符合安全生产要求；3、货物乱堆放，堵塞安全通道。","整改中","否"]
[19,"深圳市高运达科技有限公司","大浪街道和平西路鹏华工业园3#厂房1-2楼","龙华区应急管理局","杨放辉,饶慧彬","2019-04-17","1.经现场核查，该企业已搬迁。","","否"]
[20,"深圳市宇创实业有限公司","深圳市龙华区观澜街道大水田社区裕展三路7号厂房（一）101","龙华区应急管理局","陈爱勋,董善文","2019-04-17","1、车间危化品（助焊剂）容器瓶未粘贴安全区分标签。2、车间锡炉末端未设置三级漏电保护开关。3、焊锡岗位未设置抽排风设施。4、静音房内电源线存在裸露现象。5、冲剪压设备双手同步按钮失效","整改中","否"]